## SelectionData
Sr# | Reference | Candidate Name | Father / Husband Name | Marital Status | Gender | CNIC Number | CNCI Issue Date | Expiry Date | Date of Birth | Birth Country | Permanent Address | Current Address | Religion | Cell # | Passport # | Passport Issue Date | Passport Expiry Date | Selection Trade | Salary | Food | Contrct Duration Type | Contrct Duration | Agent Name | Company | Parent Company Name | Selection Group
1 | Agent | Mubbashar ali | Liaqat Ali | Married | Male | 3120482865643 |  |  |  | Pakistan |  |  | Islam |  | KF1823931 |  |  | Welder | 1200 | 200 SAR (Food Allawance) | Yearly | 2 | Jeddah TTC
2 | Self | Mudassar Ahmad Rana | Rana Qadeer Ahmed | Married | Male |  |  |  |  | Pakistan |  |  | Islam | 923214142238 | AN9790842 |  |  | Facility Coordinator | 2500 | 200 SAR (Food Allawance) | Yearly | 2 | Self
3 | Agent | Muhammad Nasir | Noor Muhammad | Married | Male |  |  |  |  | Pakistan |  |  | Islam |  | FJ9821292 |  |  | Plumber | 1200 | 200 SAR (Food Allawance) | Yearly | 2 | Jeddah TTC
4 | Self | Muhammad Saleem Ali | Muhammad Ali | Married | Male |  |  |  |  | Pakistan |  |  | Islam | 923236452384 | UN1800742 |  |  | HSE Officer | 3500 | Including Salary | Yearly | 2 | Self
5 | Self | Munwar Khan | Gul Sameer | Married | Male |  |  |  |  | Pakistan |  |  | Islam | 923335471281 |  |  |  | Plumber | 1500 | 200 SAR (Food Allawance) | Yearly | 2 | Self

## MasterData
Reference | Marital Status | Gender | Religion | Birth Country | Contrct Duration Type | name | ArabicName
Self | Single | Male | Islam | Pakistan | Yearly | General Plumber | سباك عام
Nominated | Married | Female |  |  | Monthly | HVAC Technician / Operation and Maintenance | فني تكييف وتبريد/ تشغيل وصيانة
Agent | [5 empty] | Auto Mechanic | ميكانيكي سيارات
[6 empty] | Gas Compression Machine Operator | مشغل ماكينة ضغط غازات
[6 empty] | Electrical Technician | فني كهرباء
[6 empty] | Private Driver | سائق خاص
[6 empty] | Elevator Operator | عامل مصعد
[6 empty] | Labor | عامل
[6 empty] | Domestic Worker | عامل منزلي
[6 empty] | General Electrician | كهربائي عام
[6 empty] | Plumber | سباك
[6 empty] | Building Painter | دهان مباني
[6 empty] | Plasterer | مليس
[6 empty] | Cargo Distribution Labor | عامل شخن تفريغ
[6 empty] | General Vehicles Driver | سائق عموم المركبات
[6 empty] | General Labor | عامل عادي
[6 empty] | Mechanical Technician / General Maintenance | فني ميكانيك / صيانة عامة
[6 empty] | General Welder | لحام عام
[6 empty] | JCB Driver | سائق غارفة
[6 empty] | Excavator Operator | مشغل حفارة
[6 empty] | Tile Fixer | مبلط
[6 empty] | Building Steel Fixer | حداد تسليح بناء
[6 empty] | Concrete Mason | بناء خرسانة
[6 empty] | Housemaid Worker | عاملة منزلية
[6 empty] | General Car Driver | سائق سيارة عمومي
[6 empty] | Truck Driver | سائق شاحنة
[6 empty] | Electronics Engineer Medical Devices | مهندس الكتروني أجهزة طبية
[6 empty] | Agricultural Labor | عامل زراعي
[6 empty] | General Accountant | محاسب عام
[6 empty] | Metal Door Steel Fixer | حداد أبواب معدنية
[6 empty] | Restaurant Labor | عامل مطعم
[6 empty] | General Furniture Carpenter | نجار أثاث عام
[6 empty] | Agricultural Equipment Electrician | كهربائي معدات زراعية
[6 empty] | Labor Supervisor | مشرف عمال
[6 empty] | Animal Training Labor | عامل تربية مواشي
[6 empty] | Plumber Helper | مساعد سباك
[6 empty] | General Road Machinery Driver | سائق عموم آليات الطرق
[6 empty] | Steel Fixer | حداد
[6 empty] | Loading Unloading Labor | عامل شحن وتفريغ
[6 empty] | Packaging & Wrapping Labor | عامل تعبئه وتغليف
[6 empty] | Light Transport Driver | سائق سيارة نقل صغيرة
[6 empty] | Jewellery Maker | صانع حلي ومجوهرات عام
[6 empty] | General Refrigeration Worker | براد عام
[6 empty] | Gypsum Labor | عامل جبس
[6 empty] | Windows Cleaner |  | عامل نظافة نوافذ
[6 empty] | Palm Farming Technician | فني زراعة النخيل
[6 empty] | Pumps and Compressors Maintenance Mechanic | ميكانيكي صيانة مضخات وضواغط
[6 empty] | Washing and Ironing Machines Mechanic | ميكانيكي آلات غسيل وكي
[6 empty] | Elevator Electrician | كهربائي مصاعد
[6 empty] | Labor Cleaner | NULL
[6 empty] | Barber | NULL
[6 empty] | Butcher | NULL
[6 empty] | Vegetable Cook | NULL
[6 empty] | Food Server | NULL
[6 empty] | Housekeeping Labor | عامل منزلي
[6 empty] | Gardner | NULL
[6 empty] | Rice Maker | NULL
[6 empty] | Cleaning Supervisor | NULL
[6 empty] | Assistant Cook | NULL
[6 empty] | Daal Maker | NULL
[6 empty] | Salad Maker | NULL
[6 empty] | Receptionist & Data Entry | NULL
[6 empty] | Receptionist | NULL
[6 empty] | Data Entry Operator | NULL
[6 empty] | Pakistani Cook | NULL
[6 empty] | Indian Cook | NULL
[6 empty] | Driver | NULL
[6 empty] | Invoicing Staff | NULL
[6 empty] | Accountant | NULL
[6 empty] | Carpenter | NULL
[6 empty] | Electrician | NULL
[6 empty] | AC Technician | NULL
[6 empty] | Painter | NULL
[6 empty] | Agricultural Equipment Driver | سائق معدات زراعيه
[6 empty] | Cleaning Worker | NULL
[6 empty] | N/A | NULL
[6 empty] | Boiler Technician | NULL
[6 empty] | Paint Specialist Technician | NULL
[6 empty] | Certified Diagnostic Technician | NULL
[6 empty] | System Technician | NULL
[6 empty] | Auto Body Specialist | NULL
[6 empty] | Airport Worker | NULL
[6 empty] | Forklift Operator | NULL
[6 empty] | Computer Operator | NULL
[6 empty] | Mechanical Technician | NULL
[6 empty] | Machine Operator | NULL
[6 empty] | JCB Operator | NULL
[6 empty] | Dyna Driver | NULL
[6 empty] | Welder | NULL
[6 empty] | Mason - Plaster / Block Surface Preparation | NULL
[6 empty] | Erector - Precast | NULL
[6 empty] | Tile Mason | NULL
[6 empty] | Finishing Carpenter | NULL
[6 empty] | Heavy Driver | NULL
[6 empty] | Elevator Technician | NULL
[6 empty] | Kitchen Helper | NULL
[6 empty] | Central HVAC Technician | NULL
[6 empty] | Electronics Technician | NULL
[6 empty] | Laundry Equipment Operator | NULL
[6 empty] | Medical Gases Technician | NULL
[6 empty] | BMS Technician | NULL
[6 empty] | Fire Alarm System Technician | NULL
[6 empty] | Gypsum Carpenter | NULL
[6 empty] | Mason - Block/Plaster | NULL
[6 empty] | Plumber/Electrician | NULL
[6 empty] | Plumber/Pipe Fitter | NULL
[6 empty] | General Mason | بناء عام
[6 empty] | Plumbing Technician | فني تمديدات
[6 empty] | Safety Officer | ضباط السلامة
[6 empty] | Block Mason | NULL
[6 empty] | Mason Helper | NULL
[6 empty] | Mason Marble | NULL
[6 empty] | Stone Fixer | NULL
[6 empty] | Shuttering Carpenter | نجار مباني
[6 empty] | General Tailor | خياط عام
[6 empty] | Furniture Maker | منجد أثاث
[6 empty] | Civil Foreman | NULL
[6 empty] | Electrical Foreman | NULL
[6 empty] | Drawing Machine Operator | مشغل آلة السحب
[6 empty] | Jewellery Engraving Worker | عامل نقش مجوهرات
[6 empty] | Sandwich Maker | صانع شطائر ( ساندويتش )
[6 empty] | Skid Loader Operator | NULL
[6 empty] | Equipment Electrician | NULL
[6 empty] | Diesel Mechanic | NULL
[6 empty] | Generator Technician | NULL
[6 empty] | Dumper Driver | NULL
[6 empty] | Car Mechanic | NULL
[6 empty] | Boom Truck Driver | NULL
[6 empty] | Auto Electrician | كهربائي سيارات
[6 empty] | Roller Operator | NULL
[6 empty] | Radiator Technician | NULL
[6 empty] | Shovel Operator | NULL
[6 empty] | Crane Operator | NULL
[6 empty] | Petrol Mechanic | NULL
[6 empty] | Hydraulic / Diesel Technician | NULL
[6 empty] | Iron Scaffolding Fitter | عامل تركيب السقايل المعدنية
[6 empty] | Light Vehicle Driver | NULL
[6 empty] | General Building Cleaning Labor | عامل تنظيف مباني عامه
[6 empty] | Construction Labor | عامل معماري
[6 empty] | Diesel Engine Mechanic | ميكانيكي محرك ديزل
[6 empty] | Gents Barber | حلاق رجالي
[6 empty] | Bobcat Operator | NULL
[6 empty] | Monitoring Device Technician | NULL
[6 empty] | Chemical Engineer | NULL
[6 empty] | Sales Representative | مندوب مبيعات
[6 empty] | Grader Operator | NULL
[6 empty] | General Building Carpenter | نجار مباني عام
[6 empty] | Asphalt Plant Mechanic | NULL